TEHNICAL DATA SHEET

FISA DATE TEHNICE

Steel wall mount enclosure with sizes:

Cutii metalice de distributie cu dimensiunile in mm:

250X250x150

300X250X150

400X300X200

500X400X200

600X400X200

700X500X200

800X600X250

1000X800X300

1200X800X300

1400X800X300

Standard configuration:

- paint finish epoxy polyester powder coating textured finish color RAL 7032

- protection degree : ip66

- against mecanizal impacts: IK 10

- thickness: up to 700x500x200 1,2 mm, over that 1,5 mm

- mounting plate made of steel zinc coated thikness 2mm

Configuratie standard:

- vopsire in camp electrostatic cod de culoare RAL 7032

- grad de protectie IP 66

- protectie mecanica la impact IK 10

- grosime tabla 1.2mm pana la 700x500x200, dimensiunile mai mari 1.5mm

- contrapanou din table zincata montat in interior cu grosime 1.5mm pana la

700x500x200 iar peste aceasta dimensiune grosime 2mm

29.01.2024

(date of issue)

(signature

Or Echivalent marking

Of authorized person)